Duoderm Dressing
	[image: image1.jpg]



	1.

Ensure that the patient’s arm is well supported then CAREFULLY remove all the dressings from the PICC.


	[image: image2.jpg]



	2.
After cleaning the site with Chlorhexidine, cut the duoderm completely in half using sterile scissors

	[image: image3.jpg]



	3.
Place the two pieces of duoderm parallel to each other to the sides of the PICC – NOT above and below.


	[image: image4.jpg]



	4.
Place statlock onto the PICC and loop as in the picture – make sure that the statlock is on ONE HALF of the duoderm

	[image: image5.jpg]



	5.
Place the steri strips over all the blue of the PICC,  making sure you over lap ALL the strips 1cm over the side of the duoderm

	[image: image6.jpg]



	6.
Place the IV 3000 over the PICC and duoderm 

	[image: image7.jpg]



	7.
Carefully cut around the IV300 dressing to fit over the duoderm if there is allergy to the IV3000 
	
	

	
	
	
	

	ALL DUODERM DRESSINGS TO BE DONE IN VELINDRE OR OUTREACH AND NOT IN THE COMMUNITY

	
	
	
	

	
	
	
	

	
	
	
	


