[image: image1.jpg]Canolfan Ganser Felindre
Velindre Cancer Centre




VELINDRE NHS TRUST
Guidelines for the care and maintenance of a Tunnelled Cuffed Catheter
This information is issued by the Medicines Management Committee (MMC) on the understanding that it is the best available from the resources at our disposal at the time of preparation
	Written by:
	Meinir Hughes (Meinir.hughes2@wales.nhs.uk)

	Reviewed by:
	Name of medical, nursing and pharmacy reviewer 

	Approved by:
	Medicines Management Committee (MMC)

Any other committees?

	Approved date: 
	

	Review date: 
	June 2024

	
	


Guideline Version Control

	Guideline Version 
	Date re-written 
	Summary of amendments 
	Date approved 

	2

	May 2016
	Document updated
	

	3

	June 2021
	Document updated 
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Updated version of the South Wales Intravenous Access Advisory Group for Velindre Cancer Centre.
Guidelines for the care and maintenance of a Tunnelled Cuffed Catheter (TCC) e.g. Hickman®, Broviac®
                 
[image: image2.emf]

Updated: June 2021
Contents

	Introduction

Routine care and maintenance

Flushing a Tunnelled Cuffed Catheter

Picture guide  - flushing

Dressing a Tunnelled Cuffed Catheters

Blood sampling

Picture guide – blood sampling

Referring to Specialist Centre

Troubleshooting

References

Apendix                                                                                                                 
	4
5
7
9
10
12
14
16
17
18
19


Introduction

A tunnelled cuffed catheter (TCC) is made from soft, flexible materials including silicone or polyurethane. It is inserted via a large vein in the neck (jugular) or chest (subclavian) and is tunnelled subcutaneously until it exits on the chest wall. A cuffed tunnelled catheter is equipped with a fibrous (Dacron) cuff, which sits in the skin tunnel. This enables the patient's tissue to bond with the line to create a secure fix and will act as a mechanical barrier to prevent infection travelling along the line. The distal tip should rest in the lower third of the superior vena cava (RCN 2010). They are usually sutured in place for a minimum of 21 days until the bonding process is complete. 

A Tunnelled cuffed catheter: Hickman or Broviac

[image: image3.png]Collar bone

Point where
central line
enters body

Heart

Connection for
drips or syringes




TCC’s are usually open ended lines with clamps attached to the lumens. The clamps help prevent blood refluxing back into the catheter. 

A catheter can have up to 3 lumens depending on the therapeutic requirements of the patients – this is called a Hickman line. A catheter with a single lumen is called a Broviac catheter. Every lumen of a TCC must be treated as separate lines and each flushed separately!
	[image: image4.png]



	
	[image: image5.jpg]





	Clamps on the re-enforced area.


To avoid damaging the Hickman line the clamp/s should only be clamped within the reinforced portion of the catheter (Marked Clamp here!)
Routine care and maintenance

The routine care and maintenance of a tunnelled cuffed catheter (TCC) involves weekly flushing and dressing.  However, if the catheter is used for the administration of drugs or fluids, the catheter has to be flushed immediately post completion of the infusion.  

When performing both the dressing and flushing as one procedure, it is considered best practice to flush the catheter prior to re-dressing the exit site.  This aims to prevent the contamination of the hub by skin bacteria which could lead to a systemic infection.

TCT care and maintenance can be performed using aseptic technique or using aseptic non-touch technique (ANTT).  This document will describe the care using ANTT.

ANTT

ANTT can be described as a standardised aseptic technique where key parts are identified and protected in order to prevent the introduction of infection. Key elements are; to perform effective hand hygiene and institute a non-touch technique.  It incorporates the essential infection control measures in preventing pathogenic micro-organisms on hands, surfaces or equipment from being introduced to susceptible sites during clinical practice (RCN, 2010; Rowley, 2001). Further information concerning ANTT can be found in (appendix I).

Hand hygiene

Hand decontamination refers to both hand-washing using liquid soap and the use of alcohol based hand rub. Both will be referred to throughout this document.  Hand hygiene must be performed immediately prior and post each episode of direct contact or care. Alcohol based hand rub can be used for decontamination when there is NO contact with potentially contaminated body fluids; when hands are NOT visibly soiled and when NOT caring for a patient with vomiting and diarrhoea illness.  For staff, all wrist and hand jewellery should be removed; wear short sleeved clothing and cover any abrasions with a waterproof dressing.

Assessment

Prior to any catheter care, it is important to observe the catheter and the surrounding area for any signs of complications and to complete a short assessment:  Observe for:


Pain – arm, shoulder neck or chest


Redness – exit site/tracking along tunnel

Swelling, engorged veins in the arm, neck or chest.


Exudate, redness, pain, bleeding at exit site


Pyrexia or a history of rigors post flushing – URGENT REFERRAL!!

Dressing allergy – redness, blistering, itching, pain under the dressing.


Migration of catheter – exposure of dacron cuff

Leaking of fluid beneath the dressing

Any signs or symptoms of complications should be reported to the placement hospital without delay.

Wound sites
There are two puncture sites with a TCC:

1. The venotomy site - in the neck where the catheter enters the vein
2. The exit site where the catheter comes out of the body.

Steri-strip or suture removal:

· The venotomy site: 7 days for steri-strip removal
· The exit site: 21 days for suture removal (to ensure the tissue has adhered to the Dacron cuff, securing the catheter)

Dressings

· A biopatch is routinely placed onto the exit site and changed every week (see picture below).  A biopatch is a small disk like dressing that slowly releases chlorhexidine at the exit site over 7 days. It needs changing every 7 days. It must always be changed if blood stained or soiled!  The biopatch has to be covered with a semi-permeable clear dressing such as tegaderm or IV3000.
· The catheter should be looped up and around to prevent catheter pull. Ideally, the catheter hub should be placed in a pouch worn around the neck. Women must not tuck the end of the catheter into their bra as this could lead to contamination by micro-organisms
[image: image6.jpg]



Important notes:

When a chemotherapy pump is attached to the catheter, no attempt should be made to flush the catheter until the pump is disconnected by an appropriately trained practitioner.

A blood return SHOULD NOT be established prior to a ROUTINE SALINE FLUSH , but ALWAYS be taken prior to using the Hickman for drugs or fluids other than a saline flush.
Flushing a Skin-Tunnelled Catheter
A Tunnelled Cuffed Catheter (TCC) needs to be flushed once weekly with 10mls of 0.9% Sodium Chloride to maintain patency when not in use or after any infusion or bolus injection. 
There is no need to withdraw blood into the syringe prior to a routine flush with saline (RCN 2010).

As with all central lines, 10 mls is the minimum size syringe to be used to flush a line. Using a smaller syringe size can result in excessive pressure being exerted which could result in a damaged catheter. 

A TCC should be routinely flushed using a turbulent and positive pressure flush.  A turbulent flush can be described as using a rapid push pause action when flushing.  The turbulence created will cleanse the internal lumen of the catheter more efficiently.  A positive pressure flush can be achieved by clamping the catheter as the last 1ml is flushed.

The needle free connector needs to be changed weekly. 
The Procedure

Please follow picture guidelines page 9.
The procedure for flushing a TCC will be described using ANTT (aseptic non-touch technique).
Equipment

Clean plastic tray – or you can use a sterile pack in the community if no tray is available.
Detergent wipes 70% alcohol wipes to clean the tray

1 x pair of non-sterile gloves (powder free)

Sterile chlorhexidine 2% in alcohol 70% solution or swab (e.g Clinell) or solution 
1 x 10ml or larger syringe – side tip (preferable) or luer lock
10ml sterile 0.9% Sodium Chloride for injection
Or you can use pre-filled syringes.
Blunt needle to draw up Sodium Chloride 

Needle free connector (i.e bionector) if required (changed weekly)







Sharps bin

Procedure

· Prior to the procedure it is good practice to open the clamp and move from the reinforced (thicker) area and firmly massage the reinforced area with your finger and thumb to eliminate any indentations. Place the clamp back on the reinforced are but in a slightly different location.
· Decontaminate hands thoroughly
· All equipment (i.e. plastic trays) used during the procedure must be thoroughly cleaned before and after use with detergent wipes or soap and water. Allow it to dry. 
· The ANTT key parts to consider when flushing a TCC are: The end connector; the end of the catheter (with end connector removed); the tip of the syringe; the tip of the needle and the part of the chlorhexidine swab that will clean the end connector.
· Place UNOPENED equipment into the tray (or sterile pack for the community).– yes, even in the dressing pack as we are using ANTT principles! 

· Clean hands with alcohol gel and put on non-sterile gloves.
· Open the syringe and needle packages and place the syringe and needle together (do NOT discard syringe package); open the saline vial and draw up the saline and dispel any air (you can hold onto the saline pod with your gloved hand).
· Remove the needle without touching the tip of the syringe and place the filled syringe back into the packaging to protect the tip.

· If the end connector needs changing – change prior to flushing.  
· Remove the old connector; open the chlorhexidine swab (clinell) hold onto the end of the catheter; cleanse the very end of the catheter using the chlorhexidine swab and leave to dry. Nb: as you open the clinell swab, do not touch the part of the swab which will be in contact with the end of the line whilst cleaning.
· If the end connector does not need to be changed hold the end of the catheter, clean the very end of the end connector thoroughly with the chlorhexidine swab for at least 15 seconds (Loveday et al 2014) and allow to dry. It is imperative that the solution is left to dry naturally for at least a minute. 
· Visually check that the end of the end connector is dry

· When flushing a TCC routinely with 0.9% sodium chloride there is no need to withdraw blood from the catheter.  However, if any drug or a solution other than saline is to be used, a blood return has to be verified prior to use in order to verify location within a vein.  
· Whilst holding on to the end connector with one hand to prevent it getting contaminated (i.e touching clothing or skin), reach for the prepared syringe from the packaging and attach a syringe containing10mls of 0.9% Sodium Chloride onto the end connector.
·  Flush using a turbulent, (pulsating push pause) action, and a positive pressure flush (clamp the catheter as the last 1ml is flushed).
Flushing a Hickman catheter using ANTT (Aseptic Non-touch Technique).
	[image: image7.jpg]



	[image: image8.jpg]



	[image: image9.jpg]



	[image: image10.jpg]




	1. Wash hands thoroughly and clean tray with detergent wipes or use dressing pack instead of tray.
	2.  Need:10ml  syringe; blunt needle; non-sterile gloves; clinell; 10mls saline; chloraprepp; end connector
	3.  Put on non-sterile gloves, draw up 10mls of saline into a side tip syringe.
	4.  Place the filled syringe back into the syringe packaging to protect.

	[image: image11.jpg]



	[image: image12.jpg]



	[image: image13.jpg]



	[image: image14.jpg]




	5. Remove the clamp from the re-enforced area.
	6. Massage re-enforced area well to eliminate indentation. Place clamp back onto re-enforced area.
	7. Open the clinell wipe making sure you don’t touch the part that will have contact with the end of the line.
	8. If changing end connector, remove + cleanse the end of line with clinell + leave to dry! Replace with new end

	[image: image15.jpg]



	[image: image16.jpg]



	[image: image17.jpg]



	

	9.  Not changing the end connector, cleanse very end well, dry 15 secs  
	10.  Observe end of the connector to ensure it is dry; allow at least 30 secs
	11.Open clamp; flush (push pause); close clamp when flushing last 1ml.
	Repeat if another lumen!


Dressing a skin-tunnelled catheter
Following 21 days of engraftment of a skin tunnelled catheter the sutures require removal. Every week, the exit site needs to be cleaned with chloraprep and a Biopatch and semi-permeable dressings needs to be placed onto the site routinely every week.  The 3 most common transparent semi-permeable polyurethane dressings are tegaderm, IV 3000 and 365.
When changing the biopatch dressing – sterile gloves must be used as; according to ANTT principles, it is not possible to place the biopatch at the exit site without contaminating the biopatch and the site.
 Assessment

Inspect the catheter exit site for swelling, redness, or exudate.  If line migration has occurred or the Dacron cuff is visible this should also be reported and the position of the line checked before use. 
If there are any of the above symptoms present, contact the referring hospital.

If sutures are placed at the cut down site site (this is the small incision in the neck) they require removal after 7 days. Usually this wound is closed with Steri-stips; please remove after 7 days. The exit site sutures should remain in place for a minimum 21 days to ensure tissue growth around the dacron cuff, which will then keep the line in place. 
You will need to cleanse the exit site routinely every week with Chlorhexidine 2% in alcohol 70% single use applicator ( i.e chloraprep) or povidone iodine in alcohol for patients with sensitivity to chlorhexidine. (Loveday et al 2014, O’Grady et al 2011,).

Equipment 

2 x pairs of non-sterile gloves

Detergent wipes 70% alcohol wipes to clean the tray

Clean tray – or in the community you can use a dressing pack if no tray available

Semi-permeable dressing i.e tegaderm or IV 3000 10x12cm

Chlorhexidine cleaning solution 2% in alcohol 70 % eg chloraprepp
Sterile water for injection or sterile sodium chloride 0.9% for injection if the site has any blood or exudates to clean prior to chlorhexidine.
Biopatch dressing – these can be obtained in Velindre hospital for Velindre patients
Procedure

1. Wash hands thoroughly

2. All receptacles i.e. plastic trays, used during the procedure must be thoroughly cleaned before and after use with detergent wipes or soap and water. Allow it to dry. 
3. The ANTT key part to consider when dressing a skin-tunnelled catheter is the exit site of the catheter and the biopatch dressing.
4. Clean hands with alcohol gel and put on non-sterile gloves.

5. Place all UNOPEDED equipment into the tray or onto the dressing pack - yes, the items remain within the packaging in the sterile field as in this case the dressing pack is used instead of a tray and ANTT principles are used.
6. Remove the dressing and biopatch. Biopatches have an opening or a slit in order for you to prize apart during removal.
7. Remove non-sterile gloves and put on another pair of non-sterile gloves.

8. Clean the exit site of the catheter thoroughly with the chloraprep – clean the site for 30 seconds using a 360 degree cleaning method.
                                     [image: image18.jpg]



9. ALLOW TO DRY for at least one minute otherwise when visually dry.

10. Remove non-sterile gloves
11. Open a pack of sterile gloves and place the biopatch dressing into the sterile gloves package using it as a sterile field.

12. Put on sterile gloves and carefully place the biopatch over the exit site – you may need to ask the patient to lift the catheter for you to place the biopatch at the exit site.

                                        [image: image19.jpg]


 

13. Place the tegaderm or IV 3000 over the catheter exit site.
14. Decontaminate hands and tray
Blood sampling from a tunnelled cuffed catheter (TCC).
See picture guide instruction page 

The vacutainer system of collecting blood samples CAN be used with skin-tunnelled catheters.  

You will need to have completed the venepuncture training prior to taking blood from a Hickman catheter.
The procedure for blood sampling from a skin-tunnelled catheter will be described using ANTT.

Equipment

Clean plastic tray

Detergent wipes 70% alcohol wipes to clean the tray

1 x pair of non-sterile gloves (powder free)

Sterile chlorhexidine 2% in alcohol 70% solution or swab (e.g Clinell) 
Luer adaptor

Vacutainer holder/blood collection system
Blood bottles

1 x 10ml syringe

1 x 20ml syringe

20mls 0.9% Sodium Chloride – additional volume in case flushing is required to aid blood return
Blunt needle to draw up Sodium Chloride
Or you can use a pre-filled saline syringe. 

Needle-free connector – if it requires changing.










Sharps bin

Procedure
· Wash hands thoroughly

· All equipment i.e. plastic trays used during the procedure must be thoroughly cleaned before and after use with detergent wipes or soap and water. Allow it to dry. NB: In the community, if plastic trays are not available, a dressing pack can be used but principles of ANTT should still be adopted.
· The ANTT key parts to consider when taking blood from a TCC are: The end connector or the end of the catheter (with end connector removed); the tip of the syringe; the tip of the needle; the end of the luer adapter and the part of the clinell that will clean the end connector.
· Prepare the equipment orderly on the clean tray or dressing pack. Keep the equipment within the packaging. Yes, the items remain within the packaging in the sterile field as in this case the dressing pack is used instead of a tray and ANTT principles are used.
· Clean hands with alcohol gel and put on non-sterile gloves.
· Open the syringe and needle packages and place the syringe and needle together (keep the syringe package); open the saline vial and draw up the saline and dispel any air (you can hold onto the saline pod with your gloved hand).

· Remove the needle without touching the tip of the syringe and place the filled syringe back into the packaging to protect the tip.
· Open the other syringe packaging but leave within the packaging to protect the tip.

· Place the luer adaptor onto the vacutaner holder in preparation and place the cap on loosely.
· If the end connector needs changing – change after taking blood. If taking blood cultures, remove the end connector and take the blood directly from the end of the line.  
· Remove the old connector; open the chlorhexidine swab (clinell) hold onto the end of the catheter; cleanse the very end of the catheter using the chlorhexidine swab and leave to dry. Nb: as you open the clinell swab, do not touch the part of the swab which will be in contact with the end of the line whilst cleaning.
· If the end connector does not need to be changed hold the end of the catheter, clean the very end of the end connector thoroughly with the chlorhexidine swab for at least 15 seconds (Loveday et al 2014) and allow to dry. It is imperative that the solution is left to dry naturally for at least a minute. 
· Visually check that the end of the end connector is dry
· Whilst holding on to the end connector with one hand to prevent it getting contaminated (i.e touching clothing or skin), reach for the empty syringe and place into the end of the catheter, withdraw 3-5 mls to waste – discard.
· Place the luer adapter into the end on the catheter and take the bloods in the correct order of draw. Invert tubes 5-8 times.
·  Without delay, whilst holding onto the end of the TCC, reach for the prepared saline syringe from the packaging and attach a syringe containing  0.9% Sodium Chloride onto the end connector.
·  Flush using a turbulent, (pulsating push pause) action, and a positive pressure flush (clamp the catheter as the last 1ml is flushed).
· Dispose of equipment as per area procedure, wash hands effectively and document.

End note:

Inability to withdraw blood

The following strategies can be initiated:

· Observe for kinks or damage to the catheter through the dressing

· Extend arm out to shoulder level 

· Flushing briskly with a small amount of 0.9% Sodium Chloride before withdrawal using a turbulent action

· Ask the patient to lie flat

· Using a 20ml syringe with 5-10mls of saline use a ‘push pull’ method to try to obtain blood from the catheter
If none of the above leads successfully to blood withdrawal – flush the catheter and report to Hospital where insertion took place.
Taking blood from a Hickman catheter using ANTT (Aseptic Non-touch Technique).

	[image: image20.jpg]



	[image: image21.jpg]



	[image: image22.jpg]



	[image: image23.jpg]




	1. Wash hands thoroughly and clean tray with detergent wipes 
	2. Need10ml + 20ml syringe; blunt needle; non-sterile gloves; clinell; 20mls saline; luer adaptor and holder; end connector
	3. Put on non-sterile gloves. Remove the clamp from the re-enforced area
	4. Massage re-enforced area well to eliminate indentation. Place clamp back onto re-enforced area.

	[image: image24.jpg]



	[image: image25.jpg]



	[image: image26.jpg]



	[image: image27.jpg]




	5. Place luer adaptor onto holder and replace cap. Open syringe and needle packaging and draw up saline 20ml
	6. Place the 20ml syringe back into packaging and open the emptly syringe packaging but keep within package
	7. Open clinell making sure not to touch the part of the clinell which will have contact with end connector.
	8. If taking blood cultures, remove the end connector and cleanse with clinell and leave to dry.

	[image: image28.jpg]



	[image: image29.jpg]



	[image: image30.jpg]




	[image: image31.jpg]




	9.If not taking blood cultures: cleanse the end of connector, leave to dry! 
	10. Visually check to ensure end is DRY!
	11.  Waste 1st blood using a syringe – withdraw 3mls + discard.
	12.Take the protective cover off  the luer adaptor and vacutaner holder.

	[image: image32.jpg]



	[image: image33.jpg]



	
	When taking blood cultures DO NOT waste 1st blood!

	 13.Place the luer adapter onto the end of the Hickman/end connector.
	14. Alternatively you can waste the first blood with a spare blood bottle (at least 3mls) + discard.

	
	

	[image: image34.jpg]



	[image: image35.jpg]



	[image: image36.jpg]



	[image: image37.jpg]




	16. Take blood samples according to order of draw and invert tubes 5-8 times post withdrawal.
	17. Flush the line immediately with 10-20mls of saline using a push pause turbulent flush.
	18. End with a positive pressure flush; making sure that you clamp the catheter as you are flushing the last ml.

	19. If taking blood cultures, replace the needle free connector.

	
	
	
	

	
	
	
	


When to refer to specialist centre/practitioner

1. Rigors or feeling cold, with or without pyrexia, after flushing or any history – urgent referral!

2. Pyrexia

3. Leaking of fluid at the exit site or at any location along the external portion of the PICC.

4. Swelling redness pain or exudate at the exit site

5. Inability to flush the catheter, or blood cannot be withdrawn - persistent withdrawal occlusion (PWO)
6. Line migration i.e catheter looks shorter or longer or the dacron cuff is visible
7. Signs and symptoms of thrombosis, i.e., swelling of the arm, neck or chest, discoloration of limb or bleeding at the exit site

8. Allergy to dressings

Troubleshooting

This section gives examples of problems and possible solutions.  Further advice and complication management needs to be sought from practitioners experienced with skin-tunnelled catheters within secondary care.  Patients will need to be referred to the hospital where the catheter was placed.
Unable to flush a skin-tunnelled catheter
Possible causes: 

· Blood clot within the catheter lumen

· Mechanical obstruction

· Drug or mineral precipitate

· Lipid residue

· Blocked needle-free connector

The following actions should be taken:

· Observe for any external kinks 
· Attempt to flush without exerting force

· If the catheter remains blocked contact experienced practitioner  for same day referral

Unable to obtain a blood sample from the skin-tunnelled catheter
Possible causes:

· Fibrin sheath – a collection of coagulative matter at the tip of the line

· Movement of the tip of the catheter into a location other than the SVC

· Catheter tip resting close to the vein wall

· Mechanical obstruction

The following action should be taken:

· Observe for any external 
· Flush the catheter with saline using a push pause method

· If no blood return - attempt to flush with saline using a push pull method

· Change the position of the patient and encourage deep breaths 

· If blood withdrawal is not possible, flush the catheter with 15mls of saline and inform the relevant hospital where catheter was placed.

Leaking of fluid at the exit site or along the skin-tunnelled catheter
Fibrin sheath

Possible tear in the catheter.

Do not remove the dressing – refer to experienced practitioner in the hospita
References

ANTT Principles (www.antt.org.uk)
BCSH Guidelines (1997). Guidelines on the Insertion and Management of Central

Venous Lines. British Journal of Haematology 98: 1041–1047

Department of Health (2005). Saving Lives: A Delivery Programme to Reduce Healthcare

Associated Infection including MRSA. London: Department of Health: London
Department of Health (2008).The Health and Social Care Act 2008: Code of Practice for

The  NHS on the prevention and control of Healthcare associated infections and related

guidance. Department of Health: London
Loveday HP,  Wilson JA, Pratt RJ, Golsorkhi A, Tingle A, Bak A, Browne J, Prieto J, Wilcox M. epic3: National Evidence-Based Guidelines for Preventing Healthcare-Associated Infections in NHS Hospitals in England. Journal of Hospital Infection 86S1 (2014) S1-S70.
National Audit Office (2009). The Management and Control of Healthcare Associated

Infection in Acute NHS Trusts in England. London: The Stationery Office

National Chemotheray Advisory Group. Chemotherapy Services in England: Ensuring Safety and Quality. NCAG 2009.

Nursing and Midwifery Council (2008). The Code: standards of conduct, performance and ethics for nurses and midwives. NMC: London

O'Grady NP, Alexander M, Burns LA, Dellinger EP, Garland J, Heard SO, Lipsett PA, Masur H, Mermel LA, Pearson ML, Raad II, Randolph A, Rupp ME, Saint S. Healthcare Infection Control Practices Advisory Committee (HICPAC). Guidelines for the Prevention of Intravascular Catheter-Related Infections,2011 available at;

http://www.cdc.gov/hicpac/pdf/guidelines/bsi-guidelines-2011.pdf accessed 24.04.2014

Sepsis definition:

http://www.oxforddictionaries.com/definition/english/asepsis [14th April 2014]

Rowley S (2001) Theory to practice. Aseptic non touch technique. Nursing Times 97: 7,6-8
Rowley S & Clare S (2009) Improving standards of aseptic practice through an ANTT trustwide

implementation process: a matter of prioritization and care. Journal of Infection

Prevention 10: 1,S18-S23
Rowley S, Clare S, Macqueen & S, Molyneux C. (2010) ANTT v2: An updated practice

framework for aseptic technique. British Journal of Nursing (Intravenous Supplement), Vol

19, No 5

Royal College of Nursing (2010) Standards for infusion therapy. Royal College of

Nursing: London
Appendix 1

ANTT – aseptic non-touch technique

Healthcare associated infection (HCAI) remains high on the agenda of the government agencies. These infections affect an estimated 100,000 people, resulting in 5,000 to 15,000 deaths and cost the National Health Service (NHS) in excess of £1 billion a year. It is also estimated that 30% of HCAIs are in fact preventable; therefore, effective prevention and control of infection needs to be embedded into everyday clinical practice (DOH 2005; DOH 2008; National Audit Office 2009).

In 2000, the National Audit office reported ‘unsatisfactory levels of compliance with

hygiene standards’ and ‘a lack of adherence to hand-washing procedures’, recommending

that staff apply ‘rigorously and consistently the measures known to be effective in reducing

risks of healthcare associated infections’ (National Audit Office 2009). The ANTT framework was developed at University College Hospital in London in the mid 90’s in order to raise clinical standards and standardise aseptic clinical practice.  Over the years it has evolved to divide into standard and surgical aseptic technique and is endorsed by the Department of Health Saving lives: a delivery programme to reduce healthcare associated infection including MRSA (2005). 

EPIC3: National evidence-based guidelines for preventing catheter-related healthcare-associated infections in NHS hospitals in England (2014) and the Royal College of Nursing Standards for infusion therapy (RCN 2010) advocate ANTT as an example of how to improve and standardise clinical practice whilst performing invasive procedures (Loveday et al 2014, Rowley 2001; DOH 2005; RCN 2010).

ANTT incorporates the essential infection control measures in preventing pathogenic micro-organisms on hands, surfaces or equipment from being introduced to susceptible sites during clinical practice (RCN 2010; Rowley 2001).

Terminology

Key parts

Any part of a piece of equipment used during aseptic technique that will increase the risk of infection if contaminated by infectious material. Examples include: cannulae tip, injectable ports, hubs of catheters, syringe tip, needles, vacutainer needle/connector, giving set spike, vials, central venous catheters (CVCs), urinary catheters (Rowley 2010).

Key site

The area on the patient for the procedure (e.g. insertion site, skin, wound) (Rowley, 2010).

Non-Touch Technique

Pathogenic organisms can not always be removed by effective hand washing. Therefore, a non touch- technique (i.e. being able to identify the ‘key-parts’ and not touching them either directly or indirectly) is perhaps thesingle most important component of achieving asepsis (Rowley 2009).

Asepsis

The complete absence of bacteria, fungi, viruses or other micro-organisms that could cause disease (Oxford Dictionaries).

Aseptic field

A clean working environment and an aseptic field are essential precautions for all clinical procedures.

Aseptic Non Touch Technique

A standardised aseptic technique where staff are taught to identify and protect the keyparts of any procedure, perform effective hand hygiene, institute a non-touch technique, wear only the appropriate personal protective equipment according to the type of procedure.

Aseptic Technique

A method developed to ensure that only uncontaminated objects/fluids make contact with sterile/susceptible sites. It is performed in the ‘effort to keep a patients as free from hospital micro-organisms as possible’ and unlike sterile techniques, aseptic technique is achievable in typical wards / home (Rowley, 2001).

Invasive procedure

A medical procedure that invades (enters) the body, usually by cutting or puncturing the skin or by inserting instruments into the body cavity.

ANTT improves aseptic technique by:

· Promoting staff awareness and understanding of the various terms associated with asepsis and aseptic practice.

· Promoting awareness and understanding of the key-parts/key sites and how to protect them.

· Providing a step by step clinical guideline of best practice, helping to establish a safe, standardised aseptic technique for clinically invasive procedures.

· Promoting staff to perform effective hand hygiene wear the appropriate protective clothing and institutes a non-touch technique.

· Providing an audit cycle whereby staff are trained and re-trained on an ongoing basis, promoting sustainability.

· Developing a culture of peer pressure, which in itself helps promote standardisedand safe practice.

Performing ANTT

The ANTT step by step clinical guidelines are designed to allow the practitioner to:

· ensure effective hand decontamination is undertaken

· ensure appropriate personal protective equipment is used

· assess need for sterile/non-sterile gloves

· ensure effective decontamination and preparation of the aseptic field

· identify and protect the key parts during a procedure

· institute a non-touch technique

ANTT Rationale

ANTT aims to prevent the contamination of wounds and other susceptible sites, by

ensuring that only uncontaminated equipment, referred to as ‘key parts’ come into contact

with susceptible or sterile body 
PLEASE FOLLOW STEP BY STEP GUIDE ENCLOSED.


FLUSH WEEKLY WITH SALINE AND CLEAN SITE WEEKLY WITH CHLORAPREPP and APPLY A BIOPATCH : chlorhexidine 2% in 70% alcohol.





clamp





Clamping area/section








[Type text]
[Type text]
[Type text]

PAGE  
6
TCC Guidelines/June 2021

_1240490819.ppt



















