- When taking blood from a dual lumen PICC and TPN is infusing:

  - Stop the TPN on the infusion pump.

  - If there is an infusion line on the other lumen, stop on the pump.

  - Do NOT remove the TPN infusion line from the PICC. Clean the port on the TPN infusion line. This is the blue needle-free port on the infusion line. Clean with a clinell and leave to dry.

  - Pinch the infusion line (a good firm pinch ) close to the blue port, on the portion of the infusion line going towards the infusion pump – this is to stop the flush from travelling up towards the pump instead of into the PICC.

  - Flush with 20mls of saline (use 2 pre-filled syringes and DISPEL AIR!)

  - If there is no infusion line on the other lumen, take blood as per guidelines. If there is an infusion line, remove it from the PICC and place a red cap on the end of the infusion line to protect the key part.

  - Take blood from this lumen (non-TPN lumen): Clean the end connector with clinell vigorously for 15 seconds and allow to dry; withdraw 3mls of blood to discard; use a luer adapter connector to take the blood in the order of draw; invert samples; flush the lumen with 10mls of saline (use a pre-filled syringe and DISPEL AIR!)

  - Turn the TPN back on without delay

- If a blood return is present from one lumen, both lumens can be used

- A dual lumen PICC has a statlock and a securacath to prevent migration – statlock to be changed every 4 weeks